## Config Changes
Section | Parameter | Old Value | New Value | Notes
Water Cooling Unit | fXFlowSensorConversionFactor | 0.0028 | 0.0029
Detector 1 (Scintillation) | fHighVoltage | 822.6 | 679.2 | Significant change, verify
Detector 1 (Scintillation) | fDiscrim1LowerLevel | 0.788 | 0.298
Detector 1 (Scintillation) | fDiscrim1WindowWidth | 1.078 | 1.176
Drive 1 (Theta) | fReferencePosition | 19.8658 | 20.1178
Drive 1 (Theta) | fLowerLimit | -2 | -5 | Extended negative range
Drive 1 (Theta) | fUpperLimit | 60 | 66
Drive 1 (Theta) | fFastSpeed | 400 | 200
Drive 2 (2Theta) | fReferencePosition | 23.3148 | 22.4031
Drive 2 (2Theta) | fLowerLimit | -2 | -10
Drive 2 (2Theta) | fUpperLimit | 120.1 | 66 | Significant change, verify (DEVICE.INI had 66)
Drive 3 (Phi) | fLowerLimit | -190 | -360
Drive 3 (Phi) | fUpperLimit | 190 | 360
Drive 5 (X-Drive) | fReferencePosition | -41.438 | 41.049 | SIGN FLIPPED, verify motion direction
Drive 5 (X-Drive) | fSlowSpeed | 5 | 2
Drive 5 (X-Drive) | uConfX | 9360 | 9560
Drive 6 (Y-Drive) | fReferencePosition | -40.618 | 41.023 | SIGN FLIPPED, verify motion direction
Drive 6 (Y-Drive) | fSlowSpeed | 5 | 2
Drive 6 (Y-Drive) | uConfX | 9360 | 9560
Drive 7 (Z-Drive) | fReferencePosition | -1.2712 | -2.1713
Drive 7 (Z-Drive) | fLowerLimit | -1.6 | -2
Drive 7 (Z-Drive) | fUpperLimit | 2.6 | 3
Drive 7 (Z-Drive) | fFastSpeed | 1 | 0.2
Drive 7 (Z-Drive) | fAccelerationTime | 0.2 | 0.6
Drive 7 (Z-Drive) | fMoveLimit | 10 | 5